## Slide 1
Aarti Nagpal
M.Sc. Bioinformatics
(Central University of Punjab)
Dissertation(THSTI)

## Slide 2
Pneumonia Detection using InceptionV3
Objective: Detect pneumonia from chest X-ray images using deep learning.
Dataset: PneumoniaMNIST (.npz format with train/val/test splits).
Model: Transfer learning using InceptionV3 pretrained on ImageNet.
Method:
  Resized grayscale images to 299×299 and converted to 3 channels.
  Modified the final fully connected layer to output 2 classes.
  Applied weighted loss to mitigate class imbalance.
  Trained model for 5 epochs on CPU.

## Slide 3
Model Pipeline & Fine-Tuning Strategy
Input: 28×28 grayscale images → Resized to 299×299 → Converted to 3-channel.
Preprocessing:
  Normalized pixel values.
  Applied custom PneumoniaMNISTDataset class.
Model:
  InceptionV3 (aux_logits=True).
  Final fc layer replaced with nn.Linear(..., 2).
  Last convolution block (Mixed_7) and FC layer unfrozen for fine-tuning.
Training:
  Loss: Weighted CrossEntropyLoss
  Optimizer: Adam
  Batch Size: 32, Epochs: 5
Output: Probabilities for Normal vs Pneumonia

## Slide 4
Results, Evaluation, and Observations
Test Accuracy: 83%
F1 Score (Pneumonia): 0.86
F1 Score (Normal): 0.78
Class imbalance handled using weighted loss.
Model generalized well despite imbalance (3494 Pneumonia vs 388 Normal).
Example misclassification:
  A Normal image was misclassified as Pneumonia, possibly due to noise or artifacts.
Why this model matters:
“It enables fast, accurate pneumonia triage from X-rays with 83% clinical reliability.”